## Slide 1: Plasterboard
The Essential Ingredients to Safer Handling

## Slide 2
> Plan
Check:
The plot is clean & tidy
Stairwell protection is in place
Does scaffolding need to be adapted to provide clear access
Are ramps in place to the door openings

## Slide 3
> Deliver
Check:
Laydown area is clear and free of tripping hazards and obstructions
Forklifts have the means to safely access the area.

## Slide 4
> Move
Check:
The stair design allows for direct loading out
Have letterbox openings been obstructed by pipes or cables?
Installers do not overload upper floors

## Slide 5
> Fix
Check:
Suitable equipment is available to work safely within the plots stairwell – review contractors RAMS.
Arrangements are in place to remove plasterboard waste from the work area.
Suitable tools and PPE are used for cutting boards.